## P&L (hidden)
Item | Cost | CPU Rebate | GPU Rebate | Cost - Rebate | QTY | Total Cost | Price | Margin | Total Price | Comments
XE9785L MI355x w/3y PS1 CSP |  |  | 8600 |  | 1664 |  | 267000
Previously Approved P&L

## GOAL Export (hidden)
Quote # | Config Description | Total Units | Total Selling Price | Total Config Revenue | Current Margin % | Cost
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 634 |  |  |  | 25679.448
US-3000193615450/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 |  |  |  | 13527.085
US-3000193615450/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 |  |  |  | 2373.9575
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 208 |  |  |  | 28719.888
US-3000193613873/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 840 |  |  |  | 28515.278
US-3000193613873/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 |  |  |  | 13798.715
US-3000193613873/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 |  |  |  | 2981.9175
US-3000193613766/1 | PowerEdge XE9785L | 1664 | 267000 |  |  | 285251.93

## Version
Customer (SFDC #) |  |  | (PMO input)
File Name
Solution Description |  |  | POD5 - IREN -VR72 50MW SweetWater Design
|  | GOAL ID | (Sales input)
AI Design Team
PMO Team
AE/TSR Team
RCI/CDG Team
Services Team
| Version | Date | CTO Pod Owner | PMO Owner | Description of Changes
| 1 | 2026-03-30 | POD5 | Cristina | Initial BOM
Partner Design Deviation Approval (if needed)
|  | Date | Partner Approver | Dell Approver | Description of Approval

## L11 BOM Ntwk
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf | 0 | 0 |  | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39
E-W Spine | 256 | 0 |  | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39
E-W Core | 0 | 0
N-S Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf (TAN) | 0 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
N-S Spine | 0 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Storage Leaf | 18 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
storage Spine | 16 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Control Leaf | 0 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Control Spine | 0 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
N-S Core | 48 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
CMX Leaf | 0 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
IREN Control Leaf | 2 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
BE storage leaf | 6 | 0 | 6 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
OOB Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR NW | 4 | 0 |  | 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | Does not include ToR for storage/GPU racks. / optics/cables
OOB Aggregator | 2 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 32 × QSFP‑DD 400 GbE ports
Core Switches | 2 | 0 |  | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 32 × QSFP‑DD 400 GbE ports
OOB BorderLeaf | 2 | 0 |  | IREN WILL PROVIDE
OOb BE STorage TOR | 24 | 0 |  | 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled
Racks, PDUs and CDUs
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
GPU Racks | 0 | 0 |  | [GPU RACK] VR72 | VR72 GPU Racks
T1 E-W NtwkRack |  | 0 |  | IR9148 | IR9000/750mmx1200mm/48U
T2 E-W NtwkRack | 32 | 0 |  | IR9148 | IR9000/750mmx1200mm/48U | 48U x750mm x1200mm
T1/T2 N-S NtwkRack | 0 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
T2 N-S NtwkRack | 0 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
T3 N-S NtwkRack | 8 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
T1/T2 Storage Leaf/Spine | 4 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
T1/T2 Control Leaf / Spine | 0 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
IREN Control Leaf/racks | 1 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
OOB/AGGR/Storage/Control Racks | 0 | 0 |  | IR9048 | IR9000/750mmx1200mm/48U
PDU 3Ph, 415V, 60A | 0 | 0 |  |  | Andrew to Confirm
RDHx CL20 | 0 | 0
33KW PS for IR9148 - Liquid cooled |  | 0 |  | 33KW PS for IR9148 - Liquid cooled | Only Needed for IR9148
33KW PS for IR9048 - Air cooled |  | 0 |  | 33KW PS for IR9048 - Air cooled | Only Needed for IR9048
Patch Panels / Shuffle Componets Side Car
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] | 0 | 0 |  | 4x4 shuffle unit
Cassette /SU for Leaf Rack to Spine Rack [Hosted in Spine Rack] | 0 | 0 |  | 4x4 shuffle unit
FiberPanel | 0 | 0 |  | FiberPanel - 2U
Shuffle Racks | 0 | 0
Shuffle Boxes (Passive & Openframe) [4x4 Shufflers] | 0 | 0
Side Car | 0 | 0
Jumper Cable from Fiber Panel to Leaf switch | 0
Jumper Cable from Fiber Panel to Spine switch | 0
East-West NIC-LEAF : Transceiver/Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W NIC-Leaf Link NIC Xcvr |  | 0 |  | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only
E-W NIC-Leaf Link NIC Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
E-W NIC-Leaf Link Leaf Xcvr |  | 0 |  | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only
East-West LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf-Spine Link Leaf Xcvr | 0 | 0 |  | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | 0
E-W Leaf-Spine Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
E-W Leaf-Spine Link Spine Xcvr | 15120 | 0 |  | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | Optics: Spine to Leaf
North-South NIC-LEAF : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | 0 | Description | Notes
N-S NIC-Leaf Link NIC Xcvr |  | 0 |  | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S NIC-Leaf Link Leaf Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S NIC-Leaf Link Leaf Xcvr Cable | 0 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
0
North-South LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf-Spine Link Leaf Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Leaf-Spine Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Leaf-Spine Link Spine Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South CMX NIC-LEAF : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S CMX NIC-Leaf Link CMX NIC Xcvr | 0 | 0 |  | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S CMX NIC-Leaf Link Leaf Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S CMX NIC-Leaf Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
North-South CMX LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S CMX Leaf-Spine Link Leaf Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S CMX Leaf-Spine Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S CMX Leaf-Spine Link Spine Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South SPINE-Core : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Spine-Core Link Spine Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Spine-Core Link Spine Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Spine-Core Link Core Xcvr | 720 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South Storage POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Storage Leaf-Spine Link Leaf Xcvr | 432 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Leaf-Spine Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Storage Leaf-Spine Link Spine Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Leaf-Compute Link Leaf Xcvr | 372 | 0 |  | MMA4Z00‑NS | MMA4Z00‑NS - NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED
N-S Storage Leaf-Compute Link Cable | 744 | 0 |  | MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4
N-S Storage Leaf-Compute Link Xcvr | 372 | 0 |  | MMA4Z00-NS-FLT | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top
N-S Storage Spine-Core Link Spine Xcvr | 480 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Spine-Core Link Spine Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Storage Spine-Core Link Spine Xcvr | 480 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
Switch to Switch VLT Transceiver | 12 | 0 |  | MMA4Z00-NS | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top
Switch to Switch VLT Cable | 12 | 0 |  | MFP7E10-N05 | (MPO‑12) multimode fiber cable Type‑B
Backend N-S Storage Leaf-Compute Link Leaf Xcvr | 372 | 0 |  | MMA4Z00‑NS | MMA4Z00‑NS - NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED
Backend N-S Storage Leaf-Compute Link Cable | 744 | 0 |  | MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4
Backend N-S Storage Leaf-Compute Link Xcvr | 372 | 0 |  | MMA4Z00-NS-FLT | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top
North-South Control POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Control Leaf-Spine Link Leaf Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Control Leaf-Spine Link Leaf Xcvr Cable |  | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Control Leaf-Spine Link Spine Xcvr |  | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
N-S Control Leaf-Compute Leaf Xcvr | 0 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Leaf-Compute Leaf Cable | 0 | 0 |  | MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long
N-S Control Leaf-Compute Xcvr | 0 | 0 |  | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | BF3140 - connect to Z9864F at 200G
N-S Control Spine-Core Link Spine Xcvr | 0 |  |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Spine-Core Link Spine Xcvr Cable |  |  |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Control Spine-Core Link Spine Xcvr | 0 |  |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Cluster : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR Cable to end nodes |  | 0 |  | Cat 6 | Cat 6
OOB ToR-AGG Link ToR Xcvr |  | 0 |  | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1
OOB ToR-AGG Link ToR Xcvr Cable |  | 0 |  | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
OOB ToR-AGG Link AGGR Cable | 32 | 0 |  | 470-ABGH | Switch Xcvr to LC Patch Panel MPO-4xLC short leg patch cable, Other end is LC to OOB Leafs | only 5M is available
4x100G Patch Panel | 8 | 0 |  | Corning 4x100 Breakout PP | Final Count will come from Actual BOM
OOB ToR-AGG Link AGGR Xcvr | 32 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Core-Border leaf Link OOB Core Xcvr | 8 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Core-Border Link Border Xcvr Cable | 8 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
OOB Core-Border Link Border Xcvr | 8 | 0 |  | IREN WILL PROVIDE | 400G-QSFP-DR4
OOB AGGR-OOB Core link AGGR Xcvr | 36 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB AGGR-OOB Core Link AGGR Xcvr Cable | 72 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
OOB AGG-OOB Core Link Core Xcvr | 36 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
Border Leaf : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Border Leaf to Control Spine - Border leaf tranceiver | 0 | 0 |  | IREN WILL PROVIDE | 400G-QSFP-DD
Border Leaf to Control Spine- Border leaf - Converged core Cable | 0 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
Border Leaf to Control Spine- Border Converged core tranceiver | 0 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
North-South IREN Control POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Control Leaf-Core Link Leaf Xcvr | 32 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Control Leaf-Core Link Leaf Xcvr Cable | 64 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Control Leaf-Core Link Spine Xcvr | 32 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
N-S Control Leaf-Compute Leaf Xcvr | 32 | 0 |  | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Leaf-Compute Leaf Cable | 64 | 0 |  | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Control Leaf-Compute Xcvr | 64 | 0 |  | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | BF3140 - connect to Z9864F at 200G
GPU : Front End
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR NW |  | 0 |  | [GPU RACK] 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled [TOR SWITCHES ARE COUNTED IN GPU BOM]
OOB ToR-AGG Link ToR Xcvr |  | 0 |  | [GPU RACK] 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | SN2201 Uplink Transceiver OOB aggregation
OOB ToR Cable to end nodes |  | 0 |  | [GPU RACK] Cat 6 | Cat 6
OOB ToR-AGG Link ToR Xcvr Cable |  | 0 |  | [GPU RACK] A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
Row End Range for Column D (MUST Be Set Correctly) | Row End Range for Column E (MUST Be Set Correctly) |  |  | Row End Range for Column F (MUST Be Set Correctly)
D159 | E159 |  |  | F159
* READ: For the table below to work, be sure check that the "Row End Range" cell include the last row # of the table above. Also, make sure each line item in the source table above has an associated "Model/PN" values. Also, do not change the heading "Model/PN" without updating the formula. The Summary Table columns "Item Model/PN" and "Description" will auto adjust (grow/shrink) and auto sort itself alphabetically. Count will only auto calaculate but you must drag it down to grow. Since the Summary Table has dynamic columns, if you manully enter info into columns DPN, SKU and Notes they will not automatically move along with the dynamic columns.
Summary Table
| DPN | SKU | Count | Item Model/PN | Description | Notes
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=

## Rack-Elevations
Total
32 spines, 4 racks x 8-plane
|  |  | 15 |  | 15 |  | 15 |  | 15 |  | 32 |  |  | 6 |  |  |  | 9 |  |  |  | 15 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 3 |  |  |  | 1 |  |  | 1
|  |  | 750mm |  | 750mm |  | 750mm |  | 750mm |  | 750mm |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  | 750mm
|  | RU | T1 E-W Rail1-2.A Plane1-4 | RU | T1 E-W Rail1-2.B Plane5-8 | RU | T1 E-W Rail3-4.A Plane1-4 | RU | T1 E-W Rail3-4.B Plane5-8 | RU | T2 E-W |  | RU | T1/T2 N-S |  |  | RU | T1/T2 N-S |  |  | RU | T1/T2 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | N-S CTRL Spine+STORAGE LEAF SPINE |  |  | RU | N-S CTRL Spine+STORAGE LEAF SPINE |  | RU | IREN CONTROL POD
|  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 | Storage BE OOB ToR #1 | 4x12 vertical manager | 4x12 vertical manager | 48 | Storage BE OOB ToR #1 | 4x12 vertical manager | 48 |  | 4x12 vertical manager
|  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  |  | 47 | 4x100G Breakout PP |  |  | 47 |  |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  |  | 47 |  |  |  | 47 | Storage BE OOB ToR #2 |  |  | 47 | Storage BE OOB ToR #2 |  | 47 | OOB ToR #1
|  | 46 | 27 4x4 Shuffle Cassette [2U Panel] | 46 | 27 4x4 Shuffle Cassette [2U Panel] | 46 | 27 4x4 Shuffle Cassette [2U Panel] | 46 | 27 4x4 Shuffle Cassette [2U Panel] | 46 |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 | 4x100G Breakout PP |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 | Storage BE OOB ToR #3 |  |  | 46 | Storage BE OOB ToR #3 |  | 46
|  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  |  | 45 |  |  |  | 45 |  |  |  | 45 | OOB ToR #2 |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 | Storage BE OOB ToR #4 |  |  | 45 | Storage BE OOB ToR #4 |  | 45
|  | 44 | 36 4x4 Shuffle Cassette [2U Panel] | 44 | 36 4x4 Shuffle Cassette [2U Panel] | 44 | 36 4x4 Shuffle Cassette [2U Panel] | 44 | 36 4x4 Shuffle Cassette [2U Panel] | 44 |  |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #4 |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 | Storage BE OOB ToR #5 |  |  | 44 | Storage BE OOB ToR #5 |  | 44
|  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  |  | 43 | IREN OOB ToR #3 |  |  | 43 | IREN OOB ToR #3 |  |  | 43 | IREN OOB FOOB ToR #5 |  |  | 43 | 4x100G Breakout PP |  |  | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 | Storage BE OOB ToR #6 |  |  | 43 | Storage BE OOB ToR #6 |  | 43
|  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  |  | 42 | 1RU POWER SHELF |  |  | 42 | 1RU POWER SHELF |  |  | 42 | 1RU POWER SHELF |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 | 1RU POWER SHELF |  |  | 42 | 1RU POWER SHELF |  | 42
|  | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF |  | 41 |  |  |  | 41 |  |  |  | 41 |  |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | Backend STORAGE leaf #2 |  |  | 41 | STORAGE SPINE #4 |  | 41
|  | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC |  | 40 | 4x100G Breakout PP |  |  | 40 |  |  |  | 40 |  |  |  | 40 | OOB AGG # 1 |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  | 40 | 1RU POWER SHELF
|  | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 | CTRL Leaf #1 |  |  | 39 |  |  |  | 39 |  |  | 39
|  | 38 | E-W Leaf #2.A SN6600-LD Plane4 | 38 | E-W Leaf #2.B SN6600-LD Plane8 | 38 | E-W Leaf #4.A SN6600-LD Plane4 | 38 | E-W Leaf #4.B SN6600-LD Plane8 | 38 | E-W Spine #8 SN6600-LD |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 | Backend STORAGE leaf #1 |  |  | 38 | STORAGE SPINE #3 |  | 38
|  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  |  | 37 | OOB AGG # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 | 4x100G Breakout PP |  |  | 37 | OOB CORE # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  | 37
|  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  | 36
|  | 35 | E-W Leaf #2.A SN6600-LD Plane3 | 35 | E-W Leaf #2.B SN6600-LD Plane7 | 35 | E-W Leaf #4.A SN6600-LD Plane3 | 35 | E-W Leaf #4.B SN6600-LD Plane7 | 35 | E-W Spine #7 SN6600-LD |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 | STORAGE SPINE #4 |  |  | 35 | STORAGE SPINE #2 |  | 35
|  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  |  | 34 | 4x100G Breakout PP |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  | 34
|  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  |  | 33 |  |  |  | 33 |  |  |  | 33 |  |  |  | 33 | CTRL SPINE #1 |  |  | 33 | CTRL SPINE #1 |  |  | 33 |  |  |  | 33 |  |  |  | 33 |  |  |  | 33 |  |  | 33
|  | 32 | E-W Leaf #2.A SN6600-LD Plane2 | 32 | E-W Leaf #2.B SN6600-LD Plane6 | 32 | E-W Leaf #4.A SN6600-LD Plane2 | 32 | E-W Leaf #4.B SN6600-LD Plane6 | 32 | E-W Spine #6 SN6600-LD |  | 32 | N-S Spine #3 |  |  | 32 | N-S Spine #3 |  |  | 32 | N-S Spine #4 |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 | STORAGE SPINE #3 |  |  | 32 | STORAGE SPINE #1 |  | 32
|  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  | 31
|  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  | 30
|  | 29 | E-W Leaf #2.A SN6600-LD Plane1 | 29 | E-W Leaf #2.B SN6600-LD Plane5 | 29 | E-W Leaf #4.A SN6600-LD Plane1 | 29 | E-W Leaf #4.B SN6600-LD Plane5 | 29 | E-W Spine #5 SN6600-LD |  | 29 | N-S Spine #1 |  |  | 29 | N-S Spine #1 |  |  | 29 | N-S Spine #2 |  |  | 29 | N-S Core #6(Group 1) |  |  | 29 | N-S Core #6(Group 2) |  |  | 29 | N-S Core #6(Group 3) |  |  | 29 | N-S Core #6(Group 4) |  |  | 29 | STORAGE SPINE #2 |  |  | 29 | STORAGE LEAF #6 |  | 29
|  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  | 28
|  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  | 27
|  | 26 | 27 4x4 Shuffle Cassette [2U Panel] | 26 | 27 4x4 Shuffle Cassette [2U Panel] | 26 | 27 4x4 Shuffle Cassette [2U Panel] | 26 | 27 4x4 Shuffle Cassette [2U Panel] | 26 |  |  | 26 | CTRL Leaf #1 |  |  | 26 | CTRL Leaf #1 |  |  | 26 | CTRL Leaf # 2 |  |  | 26 | N-S Core #5(Group 1) |  |  | 26 | N-S Core #5(Group 2) |  |  | 26 | N-S Core #5(Group 3) |  |  | 26 | N-S Core #5(Group 4) |  |  | 26 | STORAGE SPINE #1 |  |  | 26 | STORAGE LEAF #5 |  | 26
|  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  | 25
|  | 24 | 36 4x4 Shuffle Cassette [2U Panel] | 24 | 36 4x4 Shuffle Cassette [2U Panel] | 24 | 36 4x4 Shuffle Cassette [2U Panel] | 24 | 36 4x4 Shuffle Cassette [2U Panel] | 24 |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  | 24
|  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  |  | 23 | N-S Leaf #7 |  |  | 23 | N-S Leaf #7 |  |  | 23 | N-S Leaf #8 |  |  | 23 | N-S Core #4(Group 1) |  |  | 23 | N-S Core #4(Group 2) |  |  | 23 | N-S Core #4(Group 3) |  |  | 23 | N-S Core #4(Group 4) |  |  | 23 | STORAGE LEAF #4 |  |  | 23 | STORAGE LEAF #4 |  | 23
|  | 22 | E-W Leaf #1.A SN6600-LD Plane4 | 22 | E-W Leaf #1.B SN6600-LD Plane8 | 22 | E-W Leaf #3.A SN6600-LD Plane4 | 22 | E-W Leaf #3.B SN6600-LD Plane8 | 22 | E-W Spine #4 SN6600-LD |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  | 22
|  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  | 21
|  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  |  | 20 | N-S Leaf #5 |  |  | 20 | N-S Leaf #5 |  |  | 20 | N-S Leaf #6 |  |  | 20 | N-S Core #3(Group 1) |  |  | 20 | N-S Core #3(Group 2) |  |  | 20 | N-S Core #3(Group 3) |  |  | 20 | N-S Core #3(Group 4) |  |  | 20 | STORAGE LEAF #3 |  |  | 20 | STORAGE LEAF #3 |  | 20 | Compute M9825 # 1
|  | 19 | E-W Leaf #1.A SN6600-LD Plane3 | 19 | E-W Leaf #1.B SN6600-LD Plane7 | 19 | E-W Leaf #3.A SN6600-LD Plane3 | 19 | E-W Leaf #3.B SN6600-LD Plane7 | 19 | E-W Spine #3 SN6600-LD |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  | 19 | Compute M9825 # 2
|  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  | 18 | Compute M9825 # 3
|  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  |  | 17 | N-S Leaf #3 |  |  | 17 | N-S Leaf #3 |  |  | 17 | N-S Leaf #4 |  |  | 17 | N-S Core #2(Group 1) |  |  | 17 | N-S Core #2(Group 2) |  |  | 17 | N-S Core #2(Group 3) |  |  | 17 | N-S Core #2(Group 4) |  |  | 17 | STORAGE Leaf #2 |  |  | 17 | STORAGE Leaf #2 |  | 17 | Compute M9825 # 4
|  | 16 | E-W Leaf #1.A SN6600-LD Plane2 | 16 | E-W Leaf #1.B SN6600-LD Plane6 | 16 | E-W Leaf #3.A SN6600-LD Plane2 | 16 | E-W Leaf #3.B SN6600-LD Plane6 | 16 | E-W Spine #2 SN6600-LD |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  | 16 | Compute M9825 # 5
|  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  | 15 | Compute M9825 # 6
|  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  |  | 14 | N-S Leaf #1 |  |  | 14 | N-S Leaf #1 |  |  | 14 | N-S Leaf #2 |  |  | 14 | N-S Core #1(Group 1) |  |  | 14 | N-S Core #1(Group 2) |  |  | 14 | N-S Core #1(Group 3) |  |  | 14 | N-S Core #1(Group 4) |  |  | 14 | STORAGE Leaf #1 |  |  | 14 | STORAGE Leaf #1 |  | 14 | Compute M9825 # 7
|  | 13 | E-W Leaf #1.A SN6600-LD Plane1 | 13 | E-W Leaf #1.B SN6600-LD Plane5 | 13 | E-W Leaf #3.A SN6600-LD Plane1 | 13 | E-W Leaf #3.B SN6600-LD Plane5 | 13 | E-W Spine #1 SN6600-LD |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  | 13 | Compute M9825 # 8
|  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  | 12 | Compute M9825 # 9
|  | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan |  | 11 | CMX Leaf #3 |  |  | 11 | CMX Leaf #3 |  |  | 11 | CMX Leaf #4 |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  | 11 | Compute M9825 # 10
|  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  | 10 | Compute M9825 # 11
|  | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  | 9 | Compute M9825 # 12
|  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  |  | 8 | CMX Leaf #1 |  |  | 8 | CMX Leaf #1 |  |  | 8 | CMX Leaf #2 |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  | 8 | Compute M9825 # 13
|  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  | 7 | Compute M9825 # 14
|  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  |  | 6 | 1RU POWER SHELF |  |  | 6 | 1RU POWER SHELF |  |  | 6 |  |  |  | 6 | 4x100G Breakout PP |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  | 6 | Compute M9825 # 15
|  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  |  | 5 | 4x100G Breakout PP |  |  | 5 |  |  |  | 5 | 1RU POWER SHELF |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  | 5 | Compute M9825 # 16
|  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 | 1RU POWER SHELF |  |  | 4 | 1RU POWER SHELF |  |  | 4 | 1RU POWER SHELF |  |  | 4 | 1RU POWER SHELF |  |  | 4 | 1RU POWER SHELF |  |  | 4 | 1RU POWER SHELF |  | 4 | 1RU POWER SHELF
|  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  | 3
|  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  | 2
|  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1
[13 empty] | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  | Blank
Andrew Elevations |  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  |  | 48 |  |  |  | 48 | [7 empty] | 48 |  |  |  | 48 |  |  |  | 48 |  |  |  | 48 |  |  |  | 48 |  |  |  | 48 |  |  | 48 | OOB ToR #1
|  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  |  | 47 |  |  |  | 47 | [7 empty] | 47 | OOB ToR #1 |  |  | 47 |  |  |  | 47 |  |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  |  | 47 | OOB ToR #1 |  | 47
|  | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) |  | 46 |  |  |  | 46 | [7 empty] | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 | Storage BE OOB ToR #1 |  |  | 46 | Storage BE OOB ToR #1 |  | 46
|  | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) |  | 45 | OOB AGG #1 |  |  | 45 | O-OOB # 5 | [6 empty] | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 | Storage BE OOB ToR #2 |  |  | 45 | Storage BE OOB ToR #2 |  | 45
|  | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #2 | [6 empty] | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 | Storage BE OOB ToR #3 |  |  | 44 | Storage BE OOB ToR #3 |  | 44
|  | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) |  | 43 | IREN OOB ToR #3 |  |  | 43 | CSP OOB ToR #4 | [6 empty] | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 | Storage BE OOB ToR #4 |  |  | 43 | Storage BE OOB ToR #4 |  | 43
|  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  |  | 42 |  |  |  | 42 | [7 empty] | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  | 42 | 1RU POWER SHELF
|  | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF | [6 empty] | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  | 41 | 1RU POWER SHELF
|  | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC |  | 40 |  |  |  | 40 | [7 empty] | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  | 40 | CTRL Leaf #1
|  | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace |  | 39 | Cross-Brace |  |  | 39 | Cross-Brace | [6 empty] | 39 | OOB AGG # 1 |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 | Backend STORAGE leaf #2 |  |  | 39 | Backend STORAGE leaf #2 |  | 39
|  | 38 | E-W Leaf #2.A SN6600-LD Plane4 | 38 | E-W Leaf #2.B SN6600-LD Plane8 | 38 | E-W Leaf #4.A SN6600-LD Plane4 | 38 | E-W Leaf #4.B SN6600-LD Plane8 | 38 | E-W Spine #8 SN6600-LD |  | 38 |  |  |  | 38 | [7 empty] | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  | 38
|  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  |  | 37 | OOB AGG # 1 |  |  | 37 | [7 empty] | 37 |  |  |  | 37 | OOB CORE # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  | 37 | CTRL Leaf #2
|  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  |  | 36 |  |  |  | 36 | [7 empty] | 36 | 4x100G Breakout PP |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 | Backend STORAGE leaf #1 |  |  | 36 | Backend STORAGE leaf #1 |  | 36
|  | 35 | E-W Leaf #2.A SN6600-LD Plane3 | 35 | E-W Leaf #2.B SN6600-LD Plane7 | 35 | E-W Leaf #4.A SN6600-LD Plane3 | 35 | E-W Leaf #4.B SN6600-LD Plane7 | 35 | E-W Spine #7 SN6600-LD |  | 35 |  |  |  | 35 | [7 empty] | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  | 35
|  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  |  | 34 | 4x100G Breakout PP |  |  | 34 | [7 empty] | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  | 34 | Compute M9825 # 16
|  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  |  | 33 |  |  |  | 33 | [7 empty] | 33 | CTRL SPINE #1 |  |  | 33 | CTRL SPINE #1 |  |  | 33 |  |  |  | 33 |  |  |  | 33 | STORAGE SPINE #4 |  |  | 33 | STORAGE SPINE #4 |  | 33 | Compute M9825 # 15
|  | 32 | E-W Leaf #2.A SN6600-LD Plane2 | 32 | E-W Leaf #2.B SN6600-LD Plane6 | 32 | E-W Leaf #4.A SN6600-LD Plane2 | 32 | E-W Leaf #4.B SN6600-LD Plane6 | 32 | E-W Spine #6 SN6600-LD |  | 32 |  |  |  | 32 | [7 empty] | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  | 32
|  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  |  | 31 | N-S Spine #3 |  |  | 31 | N-S Spine #4 | [6 empty] | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  | 31 | Compute M9825 # 14
|  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  |  | 30 |  |  |  | 30 | [7 empty] | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 | STORAGE SPINE #3 |  |  | 30 | STORAGE SPINE #3 |  | 30 | Compute M9825 # 13
|  | 29 | E-W Leaf #2.A SN6600-LD Plane1 | 29 | E-W Leaf #2.B SN6600-LD Plane5 | 29 | E-W Leaf #4.A SN6600-LD Plane1 | 29 | E-W Leaf #4.B SN6600-LD Plane5 | 29 | E-W Spine #5 SN6600-LD |  | 29 |  |  |  | 29 | [7 empty] | 29 | N-S Core #6(Group 1) |  |  | 29 | N-S Core #6(Group 2) |  |  | 29 | N-S Core #6(Group 3) |  |  | 29 | N-S Core #6(Group 4) |  |  | 29 |  |  |  | 29 |  |  | 29
|  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  |  | 28 | N-S Spine #1 |  |  | 28 | N-S Spine #2 | [6 empty] | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  | 28 | Compute M9825 # 12
|  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  |  | 27 |  |  |  | 27 | [7 empty] | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 | STORAGE SPINE #2 |  |  | 27 | STORAGE SPINE #2 |  | 27 | Compute M9825 # 11
|  | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) |  | 26 |  |  |  | 26 | [7 empty] | 26 | N-S Core #5(Group 1) |  |  | 26 | N-S Core #5(Group 2) |  |  | 26 | N-S Core #5(Group 3) |  |  | 26 | N-S Core #5(Group 4) |  |  | 26 |  |  |  | 26 |  |  | 26
|  | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) |  | 25 | CTRL Leaf #1 |  |  | 25 | CTRL Leaf # 2 | [6 empty] | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  | 25 | Compute M9825 # 10
|  | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) |  | 24 |  |  |  | 24 | [7 empty] | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 | STORAGE SPINE #1 |  |  | 24 | STORAGE SPINE #1 |  | 24 | Compute M9825 # 9
|  | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) |  | 23 |  |  |  | 23 | [7 empty] | 23 | N-S Core #4(Group 1) |  |  | 23 | N-S Core #4(Group 2) |  |  | 23 | N-S Core #4(Group 3) |  |  | 23 | N-S Core #4(Group 4) |  |  | 23 |  |  |  | 23 |  |  | 23
|  | 22 | E-W Leaf #1.A SN6600-LD Plane4 | 22 | E-W Leaf #1.B SN6600-LD Plane8 | 22 | E-W Leaf #3.A SN6600-LD Plane4 | 22 | E-W Leaf #3.B SN6600-LD Plane8 | 22 | E-W Spine #4 SN6600-LD |  | 22 | N-S Leaf #7 |  |  | 22 | N-S Leaf #8 | [6 empty] | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  | 22 | Compute M9825 # 8
|  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  |  | 21 |  |  |  | 21 | [7 empty] | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 | STORAGE LEAF #4 |  |  | 21 | STORAGE LEAF #4 |  | 21 | Compute M9825 # 7
|  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  |  | 20 |  |  |  | 20 | [7 empty] | 20 | N-S Core #3(Group 1) |  |  | 20 | N-S Core #3(Group 2) |  |  | 20 | N-S Core #3(Group 3) |  |  | 20 | N-S Core #3(Group 4) |  |  | 20 |  |  |  | 20 |  |  | 20
|  | 19 | E-W Leaf #1.A SN6600-LD Plane3 | 19 | E-W Leaf #1.B SN6600-LD Plane7 | 19 | E-W Leaf #3.A SN6600-LD Plane3 | 19 | E-W Leaf #3.B SN6600-LD Plane7 | 19 | E-W Spine #3 SN6600-LD |  | 19 | N-S Leaf #5 |  |  | 19 | N-S Leaf #6 | [6 empty] | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  | 19 | Compute M9825 # 6
|  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  |  | 18 |  |  |  | 18 | [7 empty] | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 | STORAGE LEAF #3 |  |  | 18 | STORAGE LEAF #3 |  | 18 | Compute M9825 # 5
|  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  |  | 17 |  |  |  | 17 | [7 empty] | 17 | N-S Core #2(Group 1) |  |  | 17 | N-S Core #2(Group 2) |  |  | 17 | N-S Core #2(Group 3) |  |  | 17 | N-S Core #2(Group 4) |  |  | 17 |  |  |  | 17 |  |  | 17
|  | 16 | E-W Leaf #1.A SN6600-LD Plane2 | 16 | E-W Leaf #1.B SN6600-LD Plane6 | 16 | E-W Leaf #3.A SN6600-LD Plane2 | 16 | E-W Leaf #3.B SN6600-LD Plane6 | 16 | E-W Spine #2 SN6600-LD |  | 16 | N-S Leaf #3 |  |  | 16 | N-S Leaf #4 | [6 empty] | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  | 16 | Compute M9825 # 4
|  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  |  | 15 | [7 empty] | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 | STORAGE Leaf #2 |  |  | 15 | STORAGE Leaf #2 |  | 15 | Compute M9825 # 3
|  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  |  | 14 |  |  |  | 14 | [7 empty] | 14 | N-S Core #1(Group 1) |  |  | 14 | N-S Core #1(Group 2) |  |  | 14 | N-S Core #1(Group 3) |  |  | 14 | N-S Core #1(Group 4) |  |  | 14 |  |  |  | 14 |  |  | 14
|  | 13 | E-W Leaf #1.A SN6600-LD Plane1 | 13 | E-W Leaf #1.B SN6600-LD Plane5 | 13 | E-W Leaf #3.A SN6600-LD Plane1 | 13 | E-W Leaf #3.B SN6600-LD Plane5 | 13 | E-W Spine #1 SN6600-LD |  | 13 | N-S Leaf #1 |  |  | 13 | N-S Leaf #2 | [6 empty] | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  | 13 | Compute M9825 # 2
|  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  |  | 12 |  |  |  | 12 | [7 empty] | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 | STORAGE Leaf #1 |  |  | 12 | STORAGE Leaf #1 |  | 12 | Compute M9825 # 1
|  | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan |  | 11 | Cross-Brace |  |  | 11 | Cross-Brace | [6 empty] | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  | 11
|  | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF | [6 empty] | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  | 10 | 1RU POWER SHELF
|  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  |  | 9 | CMX Leaf #3 |  |  | 9 | CMX Leaf #4 | [6 empty] | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  | 9 | 1RU POWER SHELF
|  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  |  | 8 |  |  |  | 8 | [7 empty] | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  | 8
|  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  |  | 7 |  |  |  | 7 | [7 empty] | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  | 7
|  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  |  | 6 | CMX Leaf #1 |  |  | 6 | CMX Leaf #2 | [6 empty] | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  | 6
|  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  |  | 5 |  |  |  | 5 | [7 empty] | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  | 5
|  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  |  | 4 |  |  |  | 4 | [7 empty] | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  | 4
|  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  |  | 3 |  |  |  | 3 | [7 empty] | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  | 3
|  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  |  | 2 |  |  |  | 2 | [7 empty] | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  | 2
|  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [7 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1

## DW2000P_1 (hidden)
Solution Id: 19885916.1
Solution Name: Together AI DW2000P
Solution Category: General
Solution List Price: $3,174,981.04
Solution Estimated Price: $687,045.84
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885916.1.1 | PowerEdge R6615 - [PE_R6615_16729] | 8 | 326247.63 | 2609981.04
[7 empty] | PowerEdge R6615 | G2CJBV9 | PowerEdge R6615 Server | 4496.13 | [210-BFUO] | 1
[7 empty] | FRONT STORAGE | GAOR9VT | Chassis with EDSFF drives | 0 | [379-BFGX] | 1
[7 empty] | BACKPLANE | G3NBWKT | E3.s Backplane | 0 | [379-BEYL] | 1
[7 empty] | REAR STORAGE | GOXF0L2 | No Rear Storage | 0 | [379-BDTE] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GHTJIO2 | Chassis with up to 14 E3.S NVMe Drives, Smart Flow | 1080 | [321-BKBT] | 1
[7 empty] | Processor | GR5TMW8 | AMD EPYC 9454P 2.75GHz, 48C/96T, 256M Cache (290W) DDR5-4800 | 10645 | [338-CGXM] | 1
[7 empty] | Processor Thermal Configuration | G0BWHZV | High Performance Heatsink, V2 | 157.4 | [412-BBGB] | 1
[7 empty] | Memory Configuration Type | G6VDIHE | Performance Optimized | 0 | [370-AHLL] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G106RND | 32GB RDIMM, 5600MT/s, Dual Rank | 25824 | [370-BBRY] | 12
[7 empty] | RAID Configuration | GF5RC29 | C30, No RAID for NVME chassis | 0 | [780-BCDO] | 1
[7 empty] | RAID/Internal Storage Controllers | GLTBAZ3 | No Controller | 0 | [405-AACD] | 1
[7 empty] | Hard Drives | GZ4G6T3 | No Hard Drive | 0 | [400-ABHL] | 1
[7 empty] | Hard Drives (PCIe SSD/Flex Bay) | GL9OCAQ | 7.68TB NVMe Read Intensive AG Drive E3s Gen5 with carrier | 253785.98 | [400-BOMO] | 14
[7 empty] | BIOS and Advanced System Configuration Settings | GJO594B | Performance BIOS Setting | 0 | [384-BBBL] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Fans | GT5CEUN | 4 Very High Performance Fan for 1 CPU | 299 | [384-BDHS] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | G3LUBT7 | Riser Config 2, 3 x16 LP (2x Gen5) | 1147.6 | [330-BCBU] | 1
[7 empty] | Motherboard | G9M23QV | PowerEdge R6615 Motherboard V2 | 0 | [329-BJSB] | 1
[7 empty] | OCP 3.0 Network Adapters | G0V3GIZ | Nvidia ConnectX-6 Lx Dual Port 10/25GbE SFP28, No Crypto, OCP NIC 3.0 | 709 | [540-BDJL] | 1
[7 empty] | Additional Network Cards | GY8XSA9 | Broadcom 5720 Dual Port 1GbE LOM | 139 | [540-BDKD] | 1
[7 empty] | Additional Network Cards | GYR7UXM | Nvidia ConnectX-7 Single Port NDR VPI/400GbE OSFP PCIe LP, No Crypto | 18938 | [540-BFHK] | 2
[7 empty] | Bezel | GFGYQ97 | Standard Bezel for E3 Chassis, R6615 | 49 | [325-BETO] | 1
[7 empty] | Boot Optimized Storage Cards | GTA30RL | BOSS-N1 controller card + with 2 M.2 960GB (RAID 1) | 4070 | [403-BCRZ], [470-AFNB] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | GDOHU23 | iDRAC,Legacy Password | 0 | [379-BCSG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GQGNYT2 | PowerEdge R6615 Shipping | 10 | [340-DCYK] | 1
[7 empty] | Shipping Material | GSHE5N8 | Shipping Material for backplane chassis | 99 | [340-DCYE] | 1
[7 empty] | Regulatory | G1QDX7H | PowerEdge R6615 CCC Marking, No CE or BIS Marking | 0 | [470-AFOU] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Service | GC42XVM | 3 Years Prosupport Next Business Day Onsite Service | 1626.01 | [886-9761], [886-9769], [886-9770], [989-3439] | 1
[7 empty] | Deployment Services | NOINSTL | No Installation | 0 | [900-9997] | 1
| Group 1 | 19885916.1.1 | WekaIO Weka XPS Tier 1 Up to 2500TB 3 Year | 480 | 1125 | 540000 |  |  |  |  | [AD159645]
| Group 1 | 19885916.1.1 | WekaIO Initial Weka Installation and Configuration Remote | 1 | 25000 | 25000 |  |  |  |  | [AD129928]
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.

## Compute_Management (hidden)
Solution Id: 19885926.1
Solution Name: Together AI Compute/Management Nodes
Solution Category: General
Solution List Price: $543,809.92
Solution Estimated Price: $125,076.26
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885926.1.1 | PowerEdge R660 - UFM Node Compute | 2 | 95460.32 | 190920.64
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G7VO5XU | Nvidia ConnectX-7 Single Port NDR200 VPI/200GbE OSFP PCIe FH, No Crypto | 8712 | [540-BFHH] | 2
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
| Group 1 | 19885926.1.1 | PowerEdge R660 - Management Node Compute | 4 | 88222.32 | 352889.28
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G1NLUM4 | Intel X710-T4L Quad Port 10GbE BASE-T Adapter, PCIe Full Height | 1474 | [540-BCRP] | 1
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.