## Summary per sections
Section | Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total per Section
E-W | 920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Transceiver | 0 | 384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384
Number of Buildings | [12 empty] | 9
E-W | nan | B300 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256
E-W | SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 24
E-W | VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4
E-W | nan | B200 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 256 | 512
N-S | 920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Transceiver | 22 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66
N-S | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Transceiver | 0 | 0 | 0 | 66 | 328 | 6 | 274 | 0 | 0 | 674
OOB | 980-9I16Y-00W000 | Mellanox transceiver, 400GbE, QSFP-DD, MPO, 1310nm, DR4+ | Transceiver | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
OOB | D3P20 | MPO12-APC-SMF | Cable | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
OOB | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Racks, PDUs and CDUs | CTRL Racks | 750mm x 1200mm/ 48RU | Rack | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Racks, PDUs and CDUs | OOB Racks | 750mm x 1200mm/ 48RU | Rack | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Racks, PDUs and CDUs | T1 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
Racks, PDUs and CDUs | T2 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
Racks, PDUs and CDUs | nan | 3PH, 415V, 60A, 560P6, 42 Outlet | PDU | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 54 | 54 | 208
Racks, PDUs and CDUs | nan | 750mm x 1200mm/ 48RU | Rack | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Racks, PDUs and CDUs | T1 E-W NtwkRack | IR9000/750mm | Rack | 0 | 0 | 9148 | 0 | 0 | 0 | 0 | 0 | 0 | 9148
Racks, PDUs and CDUs | IR9048 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 36 | 13 | 30 | 0 | 0 | 79
Racks, PDUs and CDUs | IR9148 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 0 | 104
Racks, PDUs and CDUs | IR9149 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 40
Racks, PDUs and CDUs | [GPU RACK] VR72 | VR72 GPU Racks | Switch | 0 | 0 | 0 | 0 | 252 | 0 | 210 | 0 | 0 | 462
Racks, PDUs and CDUs | T1 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 32
Racks, PDUs and CDUs | T2 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 16
Racks, PDUs and CDUs | nan | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 6
Patch Panels / Shuffle Componets Side Car | IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8
Patch Panels / Shuffle Componets Side Car | IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8
Patch Panels / Shuffle Componets Side Car | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 88
Patch Panels / Shuffle Componets Side Car | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 0 | 344 | 0 | 0 | 0 | 0 | 344
East-West NIC-L | 21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 16384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16384
East-West NIC-L | 9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 0 | 16384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16384
East-West NIC-L | MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 0 | 8192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192
East-West NIC-L | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 0 | 24576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24576
East-West NIC-L | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | Transceiver | 0 | 0 | 0 | 0 | 72576 | 0 | 0 | 0 | 0 | 72576
East-West NIC-L | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 72576 | 0 | 0 | 16384 | 16384 | 105344
East-West NIC-L | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12288 | 12288 | 24576
East-West NIC-L | MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 8192 | 16384
North-South NIC-L | 980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404
North-South NIC-L | 9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 0 | 704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 704
North-South NIC-L | C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144
North-South NIC-L | Cat 6 | Cat 6 | Cable | 0 | 9360 | 0 | 0 | 4416 | 0 | 0 | 8200 | 7920 | 29896
North-South NIC-L | J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 120 | 120 | 360
North-South NIC-L | MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144
North-South NIC-L | MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Cable | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72
North-South NIC-L | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 2048 | 0 | 0 | 8712 | 0 | 0 | 2688 | 2240 | 15688
North-South NIC-L | MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192
North-South NIC-L | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 0 | 1312 | 0 | 0 | 10100 | 0 | 0 | 0 | 0 | 11412
North-South NIC-L | NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 0 | 1216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216
North-South NIC-L | MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 | Cable | 0 | 0 | 0 | 496 | 0 | 0 | 0 | 0 | 0 | 496
North-South NIC-L | MMA4Z00-NS-FLT | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248
North-South NIC-L | MMA4Z00‑NS | MMA4Z00‑NS - NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248
North-South NIC-L | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 184 | 0 | 0 | 410 | 396 | 990
North-South NIC-L | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 11216 | 0 | 0 | 640 | 480 | 12336
North-South NIC-L | MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long | Cable | 0 | 0 | 0 | 0 | 2052 | 0 | 0 | 0 | 0 | 2052
North-South NIC-L | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152 | 1056 | 2208
North-South NIC-L | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332
North-South NIC-L | MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332
North-South NIC-L | MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 2336
North-South NIC-L | MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 94 | 166

## Summary Total
Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total Quantity
920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Transceiver | 22 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450
Number of Buildings | [11 empty] | 9
980-9I16Y-00W000 | Mellanox transceiver, 400GbE, QSFP-DD, MPO, 1310nm, DR4+ | Transceiver | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
D3P20 | MPO12-APC-SMF | Cable | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 8 | 25888 | 0 | 0 | 10444 | 0 | 0 | 0 | 0 | 36340
CTRL Racks | 750mm x 1200mm/ 48RU | Rack | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
OOB Racks | 750mm x 1200mm/ 48RU | Rack | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
nan | B300 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256
T1 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
T2 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
nan | 3PH, 415V, 60A, 560P6, 42 Outlet | PDU | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 54 | 54 | 208
nan | 750mm x 1200mm/ 48RU | Rack | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 16384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16384
9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 0 | 17088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17088
MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 0 | 8192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192
980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144
Cat 6 | Cat 6 | Cable | 0 | 9360 | 0 | 0 | 4416 | 0 | 0 | 8200 | 7920 | 29896
J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 120 | 120 | 360
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144
MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Cable | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72
MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 2048 | 0 | 0 | 8712 | 0 | 0 | 2688 | 2240 | 15688
MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192
NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 0 | 1216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216
SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 24
VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4
T1 E-W NtwkRack | IR9000/750mm | Rack | 0 | 0 | 9148 | 0 | 0 | 0 | 0 | 0 | 0 | 9148
920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Transceiver | 0 | 0 | 0 | 66 | 328 | 6 | 274 | 0 | 0 | 674
MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 | Cable | 0 | 0 | 0 | 496 | 0 | 0 | 0 | 0 | 0 | 496
MMA4Z00-NS-FLT | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248
MMA4Z00‑NS | MMA4Z00‑NS - NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248
IR9048 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 36 | 13 | 30 | 0 | 0 | 79
IR9148 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 0 | 104
IR9149 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 40
[GPU RACK] VR72 | VR72 GPU Racks | Switch | 0 | 0 | 0 | 0 | 252 | 0 | 210 | 0 | 0 | 462
IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8
IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 83880 | 0 | 0 | 17024 | 16864 | 117768
980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | Transceiver | 0 | 0 | 0 | 0 | 72576 | 0 | 0 | 0 | 0 | 72576
980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 184 | 0 | 0 | 410 | 396 | 990
MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long | Cable | 0 | 0 | 0 | 0 | 2052 | 0 | 0 | 0 | 0 | 2052
nan | B200 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 256 | 512
T1 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 32
T2 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 16
nan | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 6
980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13440 | 13344 | 26784
MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 8192 | 16384
C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332
MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 2336
MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 94 | 166

## Summary total comparison
Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total from File Sections | Total from Summary Total Tab | Discrepancy | Status
920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Transceiver | 22 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450 | 450 | 0 | MATCH
Number of Files Processed | [11 empty] | 9
980-9I16Y-00W000 | Mellanox transceiver, 400GbE, QSFP-DD, MPO, 1310nm, DR4+ | Transceiver | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | MATCH
D3P20 | MPO12-APC-SMF | Cable | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | MATCH
MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Cable | 8 | 25888 | 0 | 0 | 10444 | 0 | 0 | 0 | 0 | 36340 | 36340 | 0 | MATCH
CTRL Racks | 750mm x 1200mm/ 48RU | Rack | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | MATCH
OOB Racks | 750mm x 1200mm/ 48RU | Rack | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | MATCH
nan | B300 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 256 | 0 | MATCH
T1 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 32 | 0 | MATCH
T2 E-W NtwkRack | 750mm x 1200mm/ 48RU | Rack | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 0 | MATCH
nan | 3PH, 415V, 60A, 560P6, 42 Outlet | PDU | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 54 | 54 | 208 | 208 | 0 | MATCH
nan | 750mm x 1200mm/ 48RU | Rack | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | MATCH
21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 16384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16384 | 16384 | 0 | MATCH
9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 0 | 17088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17088 | 17088 | 0 | MATCH
MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 0 | 8192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 8192 | 0 | MATCH
980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404 | 404 | 0 | MATCH
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 144 | 0 | MATCH
Cat 6 | Cat 6 | Cable | 0 | 9360 | 0 | 0 | 4416 | 0 | 0 | 8200 | 7920 | 29896 | 29896 | 0 | MATCH
J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 120 | 120 | 360 | 360 | 0 | MATCH
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 144 | 0 | MATCH
MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Cable | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 72 | 0 | MATCH
MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 2048 | 0 | 0 | 8712 | 0 | 0 | 2688 | 2240 | 15688 | 15688 | 0 | MATCH
MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Cable | 0 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192 | 192 | 0 | MATCH
NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 0 | 1216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1216 | 0 | MATCH
SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 24 | 0 | MATCH
VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | MATCH
T1 E-W NtwkRack | IR9000/750mm | Rack | 0 | 0 | 9148 | 0 | 0 | 0 | 0 | 0 | 0 | 9148 | 9148 | 0 | MATCH
920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Transceiver | 0 | 0 | 0 | 66 | 328 | 6 | 274 | 0 | 0 | 674 | 674 | 0 | MATCH
MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 | Cable | 0 | 0 | 0 | 496 | 0 | 0 | 0 | 0 | 0 | 496 | 496 | 0 | MATCH
MMA4Z00-NS-FLT | NVIDIA Twin port transceiver, 800G (2x400Gbps), OSFP, 2xMPO12, APC, 850nm MMF, up to 50m, flat top | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248 | 248 | 0 | MATCH
MMA4Z00‑NS | MMA4Z00‑NS - NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 248 | 248 | 0 | MATCH
IR9048 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 36 | 13 | 30 | 0 | 0 | 79 | 79 | 0 | MATCH
IR9148 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 0 | 104 | 104 | 0 | MATCH
IR9149 | IR9000/750mmx1200mm/48U | Rack | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 40 | 40 | 0 | MATCH
[GPU RACK] VR72 | VR72 GPU Racks | Switch | 0 | 0 | 0 | 0 | 252 | 0 | 210 | 0 | 0 | 462 | 462 | 0 | MATCH
IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | MATCH
IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | MATCH
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 83880 | 0 | 0 | 17024 | 16864 | 117768 | 117768 | 0 | MATCH
980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | Transceiver | 0 | 0 | 0 | 0 | 72576 | 0 | 0 | 0 | 0 | 72576 | 72576 | 0 | MATCH
980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 184 | 0 | 0 | 410 | 396 | 990 | 990 | 0 | MATCH
MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long | Cable | 0 | 0 | 0 | 0 | 2052 | 0 | 0 | 0 | 0 | 2052 | 2052 | 0 | MATCH
nan | B200 XE9780 : 4x XE9780/Rack : 32 GPU/Rack | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 256 | 512 | 512 | 0 | MATCH
T1 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 32 | 32 | 0 | MATCH
T2 E-W NtwkRack | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 16 | 16 | 0 | MATCH
nan | 750mm x 1200mm/ 42RU | Rack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 6 | 6 | 0 | MATCH
980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13440 | 13344 | 26784 | 26784 | 0 | MATCH
MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 8192 | 16384 | 16384 | 0 | MATCH
C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332 | 332 | 0 | MATCH
MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 188 | 332 | 332 | 0 | MATCH
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 2336 | 2336 | 0 | MATCH
MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 94 | 166 | 166 | 0 | MATCH