## Summary per sections
Section | Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked].xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting].xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total per Section
E-W | 920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Other | 24 | 384 | 0 | 0 | 0 | 0 | 0 | 0 | 408
Number of Buildings | [11 empty] | 8
E-W | SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24
E-W | VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 4
N-S | 920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Other | 22 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 66
N-S | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Switch | 0 | 0 | 0 | 66 | 328 | 90 | 0 | 0 | 484
Racks, PDUs and CDUs | IR7044 | IR7044 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Racks, PDUs and CDUs | IR9048 | IR9000/750mmx1200mm/48U Air cooled | Other | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 11
Racks, PDUs and CDUs | [GPU RACK] VR72 | VR72 GPU Racks | Rack | 0 | 0 | 0 | 0 | 252 | 0 | 0 | 0 | 252
Racks, PDUs and CDUs | IR9048 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 36 | 13 | 0 | 0 | 49
Racks, PDUs and CDUs | IR9148 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 104
Racks, PDUs and CDUs | IR9149 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 40
Racks, PDUs and CDUs | Only Needed for IR9048 | Only Needed for IR9048 | Other | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26
Racks, PDUs and CDUs | Only Needed for IR9148 | Only Needed for IR9148 | Other | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 64
Patch Panels / Shuffle Componets Side Car | 0 | Description | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | 21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | 980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
Patch Panels / Shuffle Componets Side Car | 9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 928
Patch Panels / Shuffle Componets Side Car | C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176
Patch Panels / Shuffle Componets Side Car | Cat 6 | Cat 6 | Other | 960 | 0 | 480 | 0 | 0 | 0 | 8200 | 0 | 9640
Patch Panels / Shuffle Componets Side Car | EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports | Other | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
Patch Panels / Shuffle Componets Side Car | EDGE-SH-03U | Holds 8 shuffle Modules for 128 (Input) x 128 (Output) ports | Shuffle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | East-West LEAF-SPINE : Transceiver and Fiber/Cable | East-West LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | East-West NIC-LEAF : Transceiver/Fiber/Cable | East-West NIC-LEAF : Transceiver/Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length | Cable | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64
Patch Panels / Shuffle Componets Side Car | J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 24 | 0 | 6 | 0 | 0 | 0 | 120 | 0 | 150
Patch Panels / Shuffle Componets Side Car | JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity | Cable | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2048
Patch Panels / Shuffle Componets Side Car | MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176
Patch Panels / Shuffle Componets Side Car | MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Switch | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88
Patch Panels / Shuffle Componets Side Car | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 64 | 0 | 144 | 0 | 0 | 64 | 2688 | 0 | 2960
Patch Panels / Shuffle Componets Side Car | MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192
Patch Panels / Shuffle Componets Side Car | MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 512
Patch Panels / Shuffle Componets Side Car | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Switch | 1248 | 0 | 0 | 0 | 344 | 208 | 0 | 0 | 1800
Patch Panels / Shuffle Componets Side Car | NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128
Patch Panels / Shuffle Componets Side Car | NMMB-002X2-8989G | SMF, Polarity B, Two 8-fiber MPO inputs shuffled to two 8-fiber MPO outputs in a 16 (Input) x 16 (Output) port configuration per Shuffle Module. Lines 3 & 4 covered by the fully populated option in lines 9/10 | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | North-South Control POD: Transceiver and Fiber/Cable | North-South Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | North-South LEAF-SPINE : Transceiver and Fiber/Cable | North-South LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | North-South NIC-LEAF : Transceiver and Fiber/Cable | North-South NIC-LEAF : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | North-South Storage POD: Transceiver and Fiber/Cable | North-South Storage POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | OOB Cluster : Transceiver and Fiber/Cable | OOB Cluster : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 104 | 0 | 0 | 0 | 13440 | 0 | 13544
Patch Panels / Shuffle Componets Side Car | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only | Switch | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152
Patch Panels / Shuffle Componets Side Car | Jumper cables | Jumper cables from shiuffle box to leaf | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 32 | 0 | 88 | 208 | 17024 | 0 | 17352
Patch Panels / Shuffle Componets Side Car | MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 144 | 0 | 0 | 0 | 1216 | 0 | 1360
Patch Panels / Shuffle Componets Side Car | MMS1V70-CM | QSFP28 LC LC DR | Transceiver | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24
Patch Panels / Shuffle Componets Side Car | MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8 | Cable | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152
Patch Panels / Shuffle Componets Side Car | North-South SPINE-Core : Transceiver and Fiber/Cable | North-South SPINE-Core : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | Shuffle 4x4 units | CommScope | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | side car | 305 mm | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | Border Leaf : Transceiver and Fiber/Cable | Border Leaf : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | GPU : Front End | GPU : Front End | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8
Patch Panels / Shuffle Componets Side Car | IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 16
Patch Panels / Shuffle Componets Side Car | North-South IREN Control POD: Transceiver and Fiber/Cable | North-South IREN Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 410 | 0 | 410
Patch Panels / Shuffle Componets Side Car | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144
Patch Panels / Shuffle Componets Side Car | MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144
Patch Panels / Shuffle Componets Side Car | MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Switch | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 72
Patch Panels / Shuffle Componets Side Car | MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 0 | 8192

## Summary Total
Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked].xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting].xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total Quantity
920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Other | 46 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 474
Number of Buildings | [10 empty] | 8
0 | Description | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 928
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176
Cat 6 | Cat 6 | Other | 960 | 0 | 480 | 0 | 0 | 0 | 8200 | 0 | 9640
EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports | Other | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
EDGE-SH-03U | Holds 8 shuffle Modules for 128 (Input) x 128 (Output) ports | Shuffle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
East-West LEAF-SPINE : Transceiver and Fiber/Cable | East-West LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
East-West NIC-LEAF : Transceiver/Fiber/Cable | East-West NIC-LEAF : Transceiver/Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length | Cable | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64
J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 24 | 0 | 6 | 0 | 0 | 0 | 120 | 0 | 150
JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity | Cable | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2048
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176
MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Switch | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88
MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 64 | 0 | 144 | 0 | 0 | 64 | 2688 | 0 | 2960
MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192
MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 512
MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Switch | 1248 | 0 | 0 | 0 | 344 | 208 | 0 | 0 | 1800
NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128
NMMB-002X2-8989G | SMF, Polarity B, Two 8-fiber MPO inputs shuffled to two 8-fiber MPO outputs in a 16 (Input) x 16 (Output) port configuration per Shuffle Module. Lines 3 & 4 covered by the fully populated option in lines 9/10 | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North-South Control POD: Transceiver and Fiber/Cable | North-South Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North-South LEAF-SPINE : Transceiver and Fiber/Cable | North-South LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North-South NIC-LEAF : Transceiver and Fiber/Cable | North-South NIC-LEAF : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North-South Storage POD: Transceiver and Fiber/Cable | North-South Storage POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OOB Cluster : Transceiver and Fiber/Cable | OOB Cluster : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24
VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 4
980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 104 | 0 | 0 | 0 | 13440 | 0 | 13544
980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only | Switch | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152
Jumper cables | Jumper cables from shiuffle box to leaf | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 32 | 0 | 88 | 208 | 17024 | 0 | 17352
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 144 | 0 | 0 | 0 | 1216 | 0 | 1360
MMS1V70-CM | QSFP28 LC LC DR | Transceiver | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24
MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8 | Cable | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152
North-South SPINE-Core : Transceiver and Fiber/Cable | North-South SPINE-Core : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shuffle 4x4 units | CommScope | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
side car | 305 mm | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Switch | 0 | 0 | 0 | 66 | 328 | 90 | 0 | 0 | 484
IR7044 | IR7044 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IR9048 | IR9000/750mmx1200mm/48U Air cooled | Other | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 11
[GPU RACK] VR72 | VR72 GPU Racks | Rack | 0 | 0 | 0 | 0 | 252 | 0 | 0 | 0 | 252
IR9048 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 36 | 13 | 0 | 0 | 49
IR9148 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 104
IR9149 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 40
Border Leaf : Transceiver and Fiber/Cable | Border Leaf : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GPU : Front End | GPU : Front End | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8
IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 16
North-South IREN Control POD: Transceiver and Fiber/Cable | North-South IREN Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Only Needed for IR9048 | Only Needed for IR9048 | Other | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26
Only Needed for IR9148 | Only Needed for IR9148 | Other | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 64
980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 410 | 0 | 410
C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144
MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144
MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Switch | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 72
MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 0 | 8192

## Summary total comparison
Model/PN | Description | Category | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked].xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted].xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted].xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting].xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | Total from File Sections | Total from Summary Total Tab | Discrepancy | Status
920-9N42F-00RI-3C1 | SN5610, 2U , C2P | Other | 46 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 474 | 474 | 0 | MATCH
Number of Files Processed | [10 empty] | 8
0 | Description | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
21RKC | CBL-MPO12-APC-SMF-50M | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
980-9I042-00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 0 | MATCH
9VFNX | CBL-MPO12-APC-SMF-100M | Cable | 928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 928 | 928 | 0 | MATCH
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176 | 176 | 0 | MATCH
Cat 6 | Cat 6 | Other | 960 | 0 | 480 | 0 | 0 | 0 | 8200 | 0 | 9640 | 9640 | 0 | MATCH
EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports | Other | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 0 | MATCH
EDGE-SH-03U | Holds 8 shuffle Modules for 128 (Input) x 128 (Output) ports | Shuffle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
East-West LEAF-SPINE : Transceiver and Fiber/Cable | East-West LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
East-West NIC-LEAF : Transceiver/Fiber/Cable | East-West NIC-LEAF : Transceiver/Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length | Cable | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 64 | 0 | MATCH
J6TD3 | CBL-MPO12-4LC-SMF-5M | Cable | 24 | 0 | 6 | 0 | 0 | 0 | 120 | 0 | 150 | 150 | 0 | MATCH
JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity | Cable | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2048 | 2048 | 0 | MATCH
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter | Cable | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176 | 176 | 0 | MATCH
MMA4Z00‑NS-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS, 2X400GbE, OSFP, 2XMPO-12/APC, MMF, UP TO 50M, FINNED | Switch | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 88 | 0 | MATCH
MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 64 | 0 | 144 | 0 | 0 | 64 | 2688 | 0 | 2960 | 2960 | 0 | MATCH
MMS1X00-NS400 - 6YVDP | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | Switch | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192 | 192 | 0 | MATCH
MMS4X00-NM-FLT | NVDA twin port XCVR, 800GbE, 2×400, O112, 2×MPO12 APC, 1310nm SMF, to 100m, flat top RHS | Cable | 512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 512 | 512 | 0 | MATCH
MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Switch | 1248 | 0 | 0 | 0 | 344 | 208 | 0 | 0 | 1800 | 1800 | 0 | MATCH
NFM93 | CBL-MPO12-2xMPO4FA-SMF-30M | Cable | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 128 | 0 | MATCH
NMMB-002X2-8989G | SMF, Polarity B, Two 8-fiber MPO inputs shuffled to two 8-fiber MPO outputs in a 16 (Input) x 16 (Output) port configuration per Shuffle Module. Lines 3 & 4 covered by the fully populated option in lines 9/10 | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
North-South Control POD: Transceiver and Fiber/Cable | North-South Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
North-South LEAF-SPINE : Transceiver and Fiber/Cable | North-South LEAF-SPINE : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
North-South NIC-LEAF : Transceiver and Fiber/Cable | North-South NIC-LEAF : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
North-South Storage POD: Transceiver and Fiber/Cable | North-South Storage POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
OOB Cluster : Transceiver and Fiber/Cable | OOB Cluster : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24 | 24 | 0 | MATCH
VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD | Switch | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | MATCH
980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Transceiver | 0 | 0 | 104 | 0 | 0 | 0 | 13440 | 0 | 13544 | 13544 | 0 | MATCH
980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only | Switch | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152 | 1152 | 0 | MATCH
Jumper cables | Jumper cables from shiuffle box to leaf | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 32 | 0 | 88 | 208 | 17024 | 0 | 17352 | 17352 | 0 | MATCH
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cable | 0 | 0 | 144 | 0 | 0 | 0 | 1216 | 0 | 1360 | 1360 | 0 | MATCH
MMS1V70-CM | QSFP28 LC LC DR | Transceiver | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 24 | 24 | 0 | MATCH
MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8 | Cable | 0 | 0 | 1152 | 0 | 0 | 0 | 0 | 0 | 1152 | 1152 | 0 | MATCH
North-South SPINE-Core : Transceiver and Fiber/Cable | North-South SPINE-Core : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
Shuffle 4x4 units | CommScope | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
side car | 305 mm | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | Switch | 0 | 0 | 0 | 66 | 328 | 90 | 0 | 0 | 484 | 484 | 0 | MATCH
IR7044 | IR7044 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
IR9048 | IR9000/750mmx1200mm/48U Air cooled | Other | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 11 | 11 | 0 | MATCH
[GPU RACK] VR72 | VR72 GPU Racks | Rack | 0 | 0 | 0 | 0 | 252 | 0 | 0 | 0 | 252 | 252 | 0 | MATCH
IR9048 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 36 | 13 | 0 | 0 | 49 | 49 | 0 | MATCH
IR9148 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 72 | 32 | 0 | 0 | 104 | 104 | 0 | MATCH
IR9149 | IR9000/750mmx1200mm/48U | Other | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 40 | 40 | 0 | MATCH
Border Leaf : Transceiver and Fiber/Cable | Border Leaf : Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
GPU : Front End | GPU : Front End | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
IREN WILL PROVIDE | 400G-QSFP-DD | Transceiver | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 8 | 0 | MATCH
IREN WILL PROVIDE | 400G-QSFP-DR4 | Transceiver | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 16 | 16 | 0 | MATCH
North-South IREN Control POD: Transceiver and Fiber/Cable | North-South IREN Control POD: Transceiver and Fiber/Cable | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MATCH
Only Needed for IR9048 | Only Needed for IR9048 | Other | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 26 | 0 | MATCH
Only Needed for IR9148 | Only Needed for IR9148 | Other | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 64 | 64 | 0 | MATCH
980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 410 | 0 | 410 | 410 | 0 | MATCH
C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | C4X6C VSR4 Hisense 80C multi‑mode QSFP112 transceiver | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144 | 144 | 0 | MATCH
MFP7E10‑N005 | (MPO‑12) multimode fiber cable Type‑B | Cable | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 144 | 144 | 0 | MATCH
MMA4Z00‑NS | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, MMF, UP TO 500M, FINNED | Switch | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 72 | 72 | 0 | MATCH
MMS4X00-NS400 | NVDA XCVR, 400Gbps, NDR, OSFP, MPO12 APC, 1310nm SMF, up to 100m, flat top(CX7 only)[MMS4X00-NS400] | Transceiver | 0 | 0 | 0 | 0 | 0 | 0 | 8192 | 0 | 8192 | 8192 | 0 | MATCH