## P&L (hidden)
Item | Cost | CPU Rebate | GPU Rebate | Cost - Rebate | QTY | Total Cost | Price | Margin | Total Price | Comments
XE9785L MI355x w/3y PS1 CSP | 285251.93 | 4860 | 8600 | 271791.93 | 1664 | 452261771.52 | 267000 | -1.795% | 444288000
Previously Approved P&L

## GOAL Export (hidden)
Quote # | Config Description | Total Units | Total Selling Price | Total Config Revenue | Current Margin % | Cost
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 634 | 32099.31 | 20350962.54 | 20% | 25679.448
US-3000193615450/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 | 16908.8562 | 33817.7125 | 20% | 13527.085
US-3000193615450/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 | 2967.4469 | 234428.3031 | 20% | 2373.9575
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 208 | 35899.86 | 7467170.88 | 20% | 28719.888
US-3000193613873/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 840 | 35644.0975 | 29941041.9 | 20% | 28515.278
US-3000193613873/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 | 17248.3937 | 34496.7875 | 20% | 13798.715
US-3000193613873/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 | 3727.3969 | 294464.3531 | 20% | 2981.9175
US-3000193613766/1 | PowerEdge XE9785L | 1664 | 267000 | 444288000 | -6.836% | 285251.93

## Version
Customer (SFDC #) |  |  | (PMO input)
File Name
Solution Description |  |  | POD5 - IREN -VR72 - Lab Quote
|  | GOAL ID | (Sales input)
AI Design Team
PMO Team
AE/TSR Team
RCI/CDG Team
Services Team
| Version | Date | CTO Pod Owner | PMO Owner | Description of Changes
| 1 | 2026-03-30 | POD5 | Cristina | Initial BOM
Partner Design Deviation Approval (if needed)
|  | Date | Partner Approver | Dell Approver | Description of Approval

## L11 BOM Ntwk
E-W Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf (exclude E-W Leaf in GPU L11) | 16 | 0 | 16 | SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD
E-W Spine | 8 | 0 | 8 | SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD
E-W Core | 0 | 0 | 0
GPU Racks | 4 | 0 | 4 | VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD
N-S Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf | 2 | 0 | 2 | 920-9N42F-00RI-3C1 | Nvidia Spectrum-4 based 800GbE 2U Open Ethernet switch with Cumulus Linux Authentication, 64 OSFP ports and 2 SFP28 ports, 4 AC PSUs, Secure-boot, standard depth, Connector-to-Power Airflow, Tool-less Rail Kit
N-S Spine | 2 | 0 | 2 | 920-9N42F-00RI-3C1 | Nvidia Spectrum-4 based 800GbE 2U Open Ethernet switch with Cumulus Linux Authentication, 64 OSFP ports and 2 SFP28 ports, 4 AC PSUs, Secure-boot, standard depth, Connector-to-Power Airflow, Tool-less Rail Kit
Storage Leaf | 0 | 0 | 0
Control Leaf | 0 | 0 | 0
N-S Core | 0 | 0 | 0
OOB Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR | 8 | 0 | 8 | SN2201_M | 48 Ports of 10/100/1000Mb Base-T, 4 Ports of QSFP28 up to 100 GbE, DC Power C2P
OOB ToR | 4 | 0 | 4 | SN2201 | 48 Ports of 10/100/1000Mb Base-T, 4 Ports of QSFP28 up to 100 GbE, AC Power C2P
OOB Aggregator | 1 | 0 | 1 | SN4700 | 1U, 32-port 400GbE QSFP-DD Open Ethernet switch based on the Spectrum-3 ASIC C2P
core switches | 0 | 0 | 0
OOB BorderLeaf | 0 | 0 | 0 | IREN WILL PROVIDE
Racks, PDUs and CDUs
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
T1 E-W NtwkRack | 2 | 0 | 9148 |  | IR9000/750mm
T2 E-W NtwkRack | 0 | 0 | 0
T1/T2 N-S NtwkRack | 1 | 0 | 1 |  | IR5000/750mm
T3 N-S NtwkRack | 0 | 0 | 0
OOB/AGGR/Storage/Control Racks | 0 |  | 0
PDU 3Ph, 415V, 60A | 2 | 0 | 2
RDHx CL20 | 0 | 0 | 0 |  | 980-9IAJ0-00XM00
Patch Panels / Shuffle Componets Side Car
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Cassette /SU | 0 | 0 | 0
Shuffle Box / Cassette | 0 | 0
FiberPanel 2U | 4 |  | 2U Mount Panels
Shuffle Racks | 0 | 0
Shuffle Boxes (Passive & Openframe) [4x4 Shufflers] | 144 |  | PPL-SH-8AP-8AP-4x4-SM-BE4 | Shuffle 4x4 units | CommScope
Side Car | 0 | 0 | 0 | side car | 305 mm
Jumper Cables from Shuffle Box to Leaf switch | 576 |  | Jumper cables | Jumper cables | Jumper cables from shiuffle box to leaf
East-West NIC-LEAF : Transceiver/Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W NIC-Leaf Link NIC Xcvr | 288 | 0 | 288 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only
E-W NIC-Leaf Link NIC Xcvr Cable | 576 | 0 | 576 | MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8
E-W NIC-Leaf Link Leaf Xcvr | 288 | 0 | 288 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only
East-West LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf-Spine Link Leaf Xcvr | 288 | 0 | 288 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only | Optics: Leaf to Spine
E-W Leaf-Spine Link Leaf Xcvr Cable | 576 | 0 | 576 | MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8 | Cables: Leaf to Spine
E-W Leaf-Spine Link Spine Xcvr | 288 | 0 | 288 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only | Optics: Spine to Leaf
North-South NIC-LEAF : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S NIC-Leaf Link NIC Xcvr | 144 | 0 | 144 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S NIC-Leaf Link Leaf Xcvr | 72 | 0 | 72 | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S NIC-Leaf Link Leaf Xcvr Cable | 144 | 0 | 144 | MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
| 0 | 0 | 0
North-South LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf-Spine Link Leaf Xcvr | 16 | 0 | 16 | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Leaf-Spine Link Leaf Xcvr Cable | 32 | 0 | 32 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Leaf-Spine Link Spine Xcvr | 16 | 0 | 16 | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South SPINE-Core : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Spine-Core Link Spine Xcvr | 0 | 0 | 0 |  |  | Optics: Leaf to Spine
N-S Spine-Core Link Spine Cable | 0 | 0 | 0 |  |  | Cables: Leaf to Spine
N-S Spine-Core Link Core Xcvr | 0 | 0 | 0 |  |  | Optics: Spine to Leaf
North-South Storage POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Storage Leaf-Spine Link Leaf Xcvr | 0 | 0 | 0
N-S Storage Leaf-Spine Link Leaf Xcvr Cable | 0 | 0 | 0
N-S Storage Leaf-Spine Link Spine Xcvr | 0 | 0 | 0
N-S Storage Leaf-Compute Link Leaf Xcvr | 0 | 0 | 0
N-S Storage Leaf-Compute Link Cable | 0 | 0 | 0
N-S Storage Leaf-Compute Link Xcvr |  | 0
North-South Control POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Control Leaf-Spine Link Leaf Xcvr | 0 | 0 | 0 |  |  | Optics: Leaf to Spine
N-S Control Leaf-Spine Link Leaf Xcvr Cable | 0 | 0 | 0 |  |  | Cables: Leaf to Spine
N-S Control Leaf-Spine Link Spine Xcvr |  | 0 |  |  |  | Optics: Spine to Leaf
N-S Control Leaf-Compute Leaf Xcvr | 0 | 0 | 0
N-S Control Leaf-Compute Leaf Cable | 0 | 0 | 0
N-S Control Leaf-Compute Xcvr |  | 0 |  |  |  | BF3140 - connect to Z9864F at 200G
OOB Cluster : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR Cable to end nodes | 480 | 0 | 480 | Cat 6 | Cat 6
OOB ToR-AGG Link ToR Xcvr | 24 | 0 | 24 | MMS1V70-CM | QSFP28 LC LC DR
OOB ToR-AGG Link ToR Xcvr Cable | 6 | 0 | 6 | J6TD3 | CBL-MPO12-4LC-SMF-5M | only 5M is available
OOB TOR Cable from Breakout Patch Panel | 12 | 0 | 12 | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
OOB ToR-AGG Link AGGR Xcvr | 12 | 0 | 12 | 980-9I16Y-00W000 | 400G-DR4
OOB AGG-Border leaf Link AGGR Xcvr | 4 | 0.08 | 4.08 | 980-9I16Y-00W000 | 400G-DR4
OOB AGG-Border Link Border Xcvr Cable | 4 | 0.08 | 4.08 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
OOB AGG-Border Link Border Xcvr | 4 | 0.08 | 4.08 | 980-9I16Y-00W000 | 400G-DR4
Border Leaf : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Border Leaf to Spine - Border leaf tranceiver | 4 | 0 | 4 | 980-9I16Y-00W000 | 400G-DR4
Border Leaf to Spine - Border leaf - Spine Cable | 4 | 0 | 4 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
Border Leaf to Spine - Border Spine tranceiver | 4 | 0 | 4 | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
LIMITED EDITING BELOW THIS LINE
Row End Range for Column D (MUST Be Set Correctly) | Row End Range for Column E (MUST Be Set Correctly) |  |  | Row End Range for Column F (MUST Be Set Correctly)
D109 | E109 |  |  | F109
* READ: For the table below to work, be sure check that the "Row End Range" cell include the last row # of the table above. Also, make sure each line item in the source table above has an associated "Model/PN" values. Also, do not change the heading "Model/PN" without updating the formula. The Summary Table columns "Item Model/PN" and "Description" will auto adjust (grow/shrink) and auto sort itself alphabetically. Count will only auto calaculate but you must drag it down to grow. Since the Summary Table has dynamic columns, if you manully enter info into columns DPN, SKU and Notes they will not automatically move along with the dynamic columns.
Summary Table
| DPN | SKU | Count | Item Model/PN | Description | Notes
|  |  | 4 | 920-9N42F-00RI-3C1 | Nvidia Spectrum-4 based 800GbE 2U Open Ethernet switch with Cumulus Linux Authentication, 64 OSFP ports and 2 SFP28 ports, 4 AC PSUs, Secure-boot, standard depth, Connector-to-Power Airflow, Tool-less Rail Kit
|  |  | 24.16 | 980-9I16Y-00W000 | 400G-DR4
|  |  | 108 | 980-9I30G-F4NM00 | TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
|  |  | 1152 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver,2xDR4 1600Gbps,OSFP, 2xMPO APC, 1310nm SMF, up to 500m, RHS FRO,Gen2, Eth only
|  |  | 12 | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
|  |  | 480 | Cat 6 | Cat 6
|  |  | 0 | IREN WILL PROVIDE
|  |  | 6 | J6TD3 | CBL-MPO12-4LC-SMF-5M
|  |  | 0 | Jumper cables | Jumper cables from shiuffle box to leaf
|  |  | 40.08 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
|  |  | 144 | MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
|  |  | 24 | MMS1V70-CM | QSFP28 LC LC DR
|  |  | 144 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
|  |  | 1152 | MPO8 to MPO8 | 800G (4x200G) Single Mode Passive Fiber , MPO-8 to MPO-8
|  |  | 0 | Shuffle 4x4 units | CommScope
|  |  | 0 | side car | 305 mm
|  |  | 4 | SN2201 | 48 Ports of 10/100/1000Mb Base-T, 4 Ports of QSFP28 up to 100 GbE, AC Power C2P
|  |  | 8 | SN2201_M | 48 Ports of 10/100/1000Mb Base-T, 4 Ports of QSFP28 up to 100 GbE, DC Power C2P
|  |  | 1 | SN4700 | 1U, 32-port 400GbE QSFP-DD Open Ethernet switch based on the Spectrum-3 ASIC C2P
|  |  | 24 | SN-6600-LD | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD
|  |  | 4 | VR72 | 1xSpectrum 6 NPU, 128x800G OSFP Pluggable, DC Busbar, DLC 4x UQD
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]

## Rack Elevations
[6 empty] | x1 |  | x1 |  | x1
| 750mm IR9000 | 750mm IR9000 | 750mm IR9000 | 750mm IR9000 |  | 750mm IR9000 |  | 750mm IR9000 |  | IR 5000 /750mm
| Rack1 | Rack2 | Rack3 | Rack4 | RU | T1/T2 E-W | RU | T1/T2 E-W | RU | T1/T2 N-S
48 RU | OOB ToR #2 | OOB ToR #2 | OOB ToR #2 | OOB ToR #2 | 48 |  | 48 |  | 48
47 RU | OOB ToR #1 | OOB ToR #1 | OOB ToR #1 | OOB ToR #1 | 47 |  | 47 |  | 47 | OOB ToR #3
46 RU | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 46 |  | 46 |  | 46 | OOB ToR #2
45 RU |  |  |  |  | 45 |  | 45 |  | 45 | OOB ToR #1
44 RU |  |  |  |  | 44 | 36 4x4Shuffle [6 blade] | 44 | 36 4x4Shuffle [6 blade] | 44 | OOB for OOB ToR #1
43 RU | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 43 |  | 43 |  | 43
42 RU |  |  |  |  | 42 |  | 42 |  | 42
41 RU |  |  |  |  | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | OOB AGG #1 SN4700
40 RU | Dell IRC | Dell IRC | Dell IRC | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40
39 RU | Cross-Brace | Cross-Brace | Cross-Brace | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39
38 RU | GPU Tray #18 | GPU Tray #18 | GPU Tray #18 | GPU Tray #18 | 38 | E-W Leaf #1 (GPU4) SN6600-LD Plane 3 & 4 | 38 | E-W Leaf #1 (GPU4) SN6600-LD Plane7&8 | 38
37 RU | GPU Tray #17 | GPU Tray #17 | GPU Tray #17 | GPU Tray #17 | 37 |  | 37 |  | 37
36 RU | GPU Tray #16 | GPU Tray #16 | GPU Tray #16 | GPU Tray #16 | 36 | E-W Leaf #1 (GPU4) SN6600-LD Plane 3 & 4 | 36 | E-W Leaf #1 (GPU3) SN6600-LD Plane7&8 | 36
35 RU | GPU Tray #15 | GPU Tray #15 | GPU Tray #15 | GPU Tray #15 | 35 |  | 35 |  | 35
34 RU | GPU Tray #14 | GPU Tray #14 | GPU Tray #14 | GPU Tray #14 | 34 | E-W Leaf #1 (GPU2) SN6600-LD Plane3& 4 | 34 | E-W Leaf #1 (GPU2) SN6600-LD Plane7&8 | 34
33 RU | GPU Tray #13 | GPU Tray #13 | GPU Tray #13 | GPU Tray #13 | 33 |  | 33 |  | 33
32 RU | GPU Tray #12 | GPU Tray #12 | GPU Tray #12 | GPU Tray #12 | 32 | E-W Leaf #1 (GPU1) SN6600-LD Plane3 & 4 | 32 | E-W Leaf #1 (GPU1) SN6600-LD Plane7&8 | 32
31 RU | GPU Tray #11 | GPU Tray #11 | GPU Tray #11 | GPU Tray #11 | 31 |  | 31 |  | 31 | SN5610 N-S Spine #2
30 RU | GPU Tray #10 | GPU Tray #10 | GPU Tray #10 | GPU Tray #10 | 30 |  | 30 |  | 30
29 RU | GPU Tray #9 | GPU Tray #9 | GPU Tray #9 | GPU Tray #9 | 29 | E-W Spine#2 SN6600-LD Plane 3 & 4 | 29 | E-W Spine#2 SN6600-LD Plane 7 & 8 | 29
28 RU | SW Tray-9 | SW Tray-9 | SW Tray-9 | SW Tray-9 | 28 |  | 28 |  | 28
27 RU | SW Tray-8 | SW Tray-8 | SW Tray-8 | SW Tray-8 | 27 | E-W Spine#1 SN6600-LD Plane 3 & 4 | 27 | E-W Spine#1 SN6600-LD Plane 7 & 8 | 27 | SN5610 N-S Spine #1
26 RU | SW Tray-7 | SW Tray-7 | SW Tray-7 | SW Tray-7 | 26 |  | 26 |  | 26
25 RU | SW Tray-6 | SW Tray-6 | SW Tray-6 | SW Tray-6 | 25 |  | 25 |  | 25
24 RU | SW Tray-5 | SW Tray-5 | SW Tray-5 | SW Tray-5 | 24 |  | 24 |  | 24
23 RU | SW Tray-4 | SW Tray-4 | SW Tray-4 | SW Tray-4 | 23 |  | 23 |  | 23
22 RU | SW Tray-3 | SW Tray-3 | SW Tray-3 | SW Tray-3 | 22 |  | 22 |  | 22
21 RU | SW Tray-2 | SW Tray-2 | SW Tray-2 | SW Tray-2 | 21 | 36 4x4Shuffle [6 blade] | 21 | 36 4x4Shuffle [6 blade] | 21
20 RU | SW Tray-1 | SW Tray-1 | SW Tray-1 | SW Tray-1 | 20 |  | 20 |  | 20
19 RU | GPU Tray #8 | GPU Tray #8 | GPU Tray #8 | GPU Tray #8 | 19 |  | 19 |  | 19
18 RU | GPU Tray #7 | GPU Tray #7 | GPU Tray #7 | GPU Tray #7 | 18 | E-W Leaf #1 (GPU4) SN6600-LD Plane1 & 2 | 18 | E-W Leaf #1 (GPU4) SN6600-LD Plane 5& 6 | 18
17 RU | GPU Tray #6 | GPU Tray #6 | GPU Tray #6 | GPU Tray #6 | 17 |  | 17 |  | 17
16 RU | GPU Tray #5 | GPU Tray #5 | GPU Tray #5 | GPU Tray #5 | 16 | E-W Leaf #1 (GPU3) SN6600-LD Plane1 & 2 | 16 | E-W Leaf #1 (GPU3) SN6600-LD Plane 5&6 | 16
15 RU | GPU Tray #4 | GPU Tray #4 | GPU Tray #4 | GPU Tray #4 | 15 |  | 15 |  | 15
14 RU | GPU Tray #3 | GPU Tray #3 | GPU Tray #3 | GPU Tray #3 | 14 | E-W Leaf #1 (GPU2) SN6600-LD Plane1 & 2 | 14 | E-W Leaf #1 (GPU2) SN6600-LD Plane5&6 | 14
13 RU | GPU Tray #2 | GPU Tray #2 | GPU Tray #2 | GPU Tray #2 | 13 |  | 13 |  | 13 | SN5610 N-S Leaf #2
12 RU | GPU Tray #1 | GPU Tray #1 | GPU Tray #1 | GPU Tray #1 | 12 | E-W Leaf #1 (GPU1) SN6600-LD Plane1 & 2 | 12 | E-W Leaf #1 (GPU1) SN6600-LD Plane5&6 | 12
11 RU | Cross-Brace & Drip Pan | Cross-Brace & Drip Pan | Cross-Brace & Drip Pan | Cross-Brace & Drip Pan | 11 |  | 11 |  | 11
10 RU | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 10 | Cross-Brace & Drip Pan | 10 | Cross-Brace & Drip Pan | 10 | SN5610 N-S Leaf #1
9 RU |  |  |  |  | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9
8 RU |  |  |  |  | 8 |  | 8 |  | 8
7 RU | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 3RU POWER SHELF | 7 | E-W Spine#2 SN6600-LD Plane 1 & 2 | 7 | E-W Spine#2 SN6600-LD 5 & 6 | 7
6 RU |  |  |  |  | 6 |  | 6 |  | 6
5 RU |  |  |  |  | 5 | E-W Spine#1 SN6600-LD Plane 1& 2 | 5 | E-W Spine#1 SN6600-LD 5 & 6 | 5
4 RU | blank | blank | blank | blank | 4 |  | 4 |  | 4
3 RU |  |  |  |  | 3 |  | 3 |  | 3
2 RU |  |  |  |  | 2 |  | 2 |  | 2
1 RU |  |  |  |  | 1 |  | 1 |  | 1

## DW2000P_1 (hidden)
Solution Id: 19885916.1
Solution Name: Together AI DW2000P
Solution Category: General
Solution List Price: $3,174,981.04
Solution Estimated Price: $687,045.84
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885916.1.1 | PowerEdge R6615 - [PE_R6615_16729] | 8 | 326247.63 | 2609981.04
[7 empty] | PowerEdge R6615 | G2CJBV9 | PowerEdge R6615 Server | 4496.13 | [210-BFUO] | 1
[7 empty] | FRONT STORAGE | GAOR9VT | Chassis with EDSFF drives | 0 | [379-BFGX] | 1
[7 empty] | BACKPLANE | G3NBWKT | E3.s Backplane | 0 | [379-BEYL] | 1
[7 empty] | REAR STORAGE | GOXF0L2 | No Rear Storage | 0 | [379-BDTE] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GHTJIO2 | Chassis with up to 14 E3.S NVMe Drives, Smart Flow | 1080 | [321-BKBT] | 1
[7 empty] | Processor | GR5TMW8 | AMD EPYC 9454P 2.75GHz, 48C/96T, 256M Cache (290W) DDR5-4800 | 10645 | [338-CGXM] | 1
[7 empty] | Processor Thermal Configuration | G0BWHZV | High Performance Heatsink, V2 | 157.4 | [412-BBGB] | 1
[7 empty] | Memory Configuration Type | G6VDIHE | Performance Optimized | 0 | [370-AHLL] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G106RND | 32GB RDIMM, 5600MT/s, Dual Rank | 25824 | [370-BBRY] | 12
[7 empty] | RAID Configuration | GF5RC29 | C30, No RAID for NVME chassis | 0 | [780-BCDO] | 1
[7 empty] | RAID/Internal Storage Controllers | GLTBAZ3 | No Controller | 0 | [405-AACD] | 1
[7 empty] | Hard Drives | GZ4G6T3 | No Hard Drive | 0 | [400-ABHL] | 1
[7 empty] | Hard Drives (PCIe SSD/Flex Bay) | GL9OCAQ | 7.68TB NVMe Read Intensive AG Drive E3s Gen5 with carrier | 253785.98 | [400-BOMO] | 14
[7 empty] | BIOS and Advanced System Configuration Settings | GJO594B | Performance BIOS Setting | 0 | [384-BBBL] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Fans | GT5CEUN | 4 Very High Performance Fan for 1 CPU | 299 | [384-BDHS] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | G3LUBT7 | Riser Config 2, 3 x16 LP (2x Gen5) | 1147.6 | [330-BCBU] | 1
[7 empty] | Motherboard | G9M23QV | PowerEdge R6615 Motherboard V2 | 0 | [329-BJSB] | 1
[7 empty] | OCP 3.0 Network Adapters | G0V3GIZ | Nvidia ConnectX-6 Lx Dual Port 10/25GbE SFP28, No Crypto, OCP NIC 3.0 | 709 | [540-BDJL] | 1
[7 empty] | Additional Network Cards | GY8XSA9 | Broadcom 5720 Dual Port 1GbE LOM | 139 | [540-BDKD] | 1
[7 empty] | Additional Network Cards | GYR7UXM | Nvidia ConnectX-7 Single Port NDR VPI/400GbE OSFP PCIe LP, No Crypto | 18938 | [540-BFHK] | 2
[7 empty] | Bezel | GFGYQ97 | Standard Bezel for E3 Chassis, R6615 | 49 | [325-BETO] | 1
[7 empty] | Boot Optimized Storage Cards | GTA30RL | BOSS-N1 controller card + with 2 M.2 960GB (RAID 1) | 4070 | [403-BCRZ], [470-AFNB] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | GDOHU23 | iDRAC,Legacy Password | 0 | [379-BCSG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GQGNYT2 | PowerEdge R6615 Shipping | 10 | [340-DCYK] | 1
[7 empty] | Shipping Material | GSHE5N8 | Shipping Material for backplane chassis | 99 | [340-DCYE] | 1
[7 empty] | Regulatory | G1QDX7H | PowerEdge R6615 CCC Marking, No CE or BIS Marking | 0 | [470-AFOU] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Service | GC42XVM | 3 Years Prosupport Next Business Day Onsite Service | 1626.01 | [886-9761], [886-9769], [886-9770], [989-3439] | 1
[7 empty] | Deployment Services | NOINSTL | No Installation | 0 | [900-9997] | 1
| Group 1 | 19885916.1.1 | WekaIO Weka XPS Tier 1 Up to 2500TB 3 Year | 480 | 1125 | 540000 |  |  |  |  | [AD159645]
| Group 1 | 19885916.1.1 | WekaIO Initial Weka Installation and Configuration Remote | 1 | 25000 | 25000 |  |  |  |  | [AD129928]
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.

## Compute_Management (hidden)
Solution Id: 19885926.1
Solution Name: Together AI Compute/Management Nodes
Solution Category: General
Solution List Price: $543,809.92
Solution Estimated Price: $125,076.26
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885926.1.1 | PowerEdge R660 - UFM Node Compute | 2 | 95460.32 | 190920.64
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G7VO5XU | Nvidia ConnectX-7 Single Port NDR200 VPI/200GbE OSFP PCIe FH, No Crypto | 8712 | [540-BFHH] | 2
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
| Group 1 | 19885926.1.1 | PowerEdge R660 - Management Node Compute | 4 | 88222.32 | 352889.28
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G1NLUM4 | Intel X710-T4L Quad Port 10GbE BASE-T Adapter, PCIe Full Height | 1474 | [540-BCRP] | 1
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.